## Slide 1: Drww Winter Chloride Monitoring Update August 16, 2018 Mike Adam Lakes committee chair Monitoring Committee Executive board

## Slide 2
Chloride by the numbers
Illinois General Use Standard = 500 mg/L
USEPA Drinking Water Standard = 250 mg/L, however, chronic environmental standard is 230 mg/L
MBI DuPage/Salt Creek = 141 mg/L
1 tsp in 5 gallons water = 280 mg/L Chloride

## Slide 3: Chloride Monitoring
LAKES: Cl as high as 2,700 mg/L (ave = 191 mg/L)
Streams:
  Winter 2014-2015 (LCHD/SMC): Cl as high as 33,000 mg/L
    Not flow weighted
  DRWW data: Cl identified as one of the primary issues
    Data collected mostly in May-Oct

## Slide 4: Chloride by County

## Slide 5
Chart: 13-4
Historic Chloride Data

## Slide 7: Conductivity vs Chloride
Chart: Lake County IL Lakes Conductivity > 1 mS/cm vs Chlorides
500 mg/L = ~ 2.0 mS/cm

## Slide 8: DRWW Winter Chloride Monitoring
December 2017 to current
  Sondes (North Shore) - continuous 24/7 (winter only)
  Conductivity loggers – continuous 24/7
    Converted to chloride concentrations
  Level loggers measure flow
    Flow X Concentration = Load

## Slide 9: DRWW Winter Chloride Monitoring – Dec ‘17 to March ‘18
IEPA
USEPA
MBI

## Slide 10
Chart: DRWW Continuous Conductivity Readings
13-7 | 840.3333 | 829.6667 | 830.7083 | 877.3229 | 898.4583 | 941.4062 | 957.25 | 914.4062 | 895.0625 | 870.8958 | 879.1042 | 882.4167 | 876.1562 | 846.3958 | 859.7812 | 884.4479 | 864.2604 | 822.0104 | 781.1667 | 769.8021 | 792.3958 | 634.3333 | 607.6771 | 771.7083 | 835.0521 | 795.4271 | 797.1979 | 770.9583 | 768.1765

## Slide 11
MBI
USEPA
IEPA

## Slide 12: DRWW Winter Chloride Monitoring – Dec ‘17 to March ‘18
IEPA
USEPA
MBI

## Slide 14: DRWW Winter Chloride Monitoring
Chart: Chloride Loads Samples DRWW
| 11-1 | 13-9 | 13-7 | 13-8 | 14-1 | 15-1 | 18-1 | 13-3
Q1 | 28183.6754 | 92738.2925 | 10603.4912 | 0 | 9765.973 | 28638.5995 | 15415.9829
Median-Q1 | 29732.7527 | 97424.7447 | 13753.9034 | 0 | 5870.7606 | 35908.9857 | 9796.9228 | 61256.8632
Q3-Median | 51662.7306 | 48648.4463 | 1098.4095 | 0 | 1559.8611 | 15604.9786 | 3966.3669 | 17068.2066

## Slide 15: De-icing workshops
Lake and other Counties
  Lake County Agencies
    Stormwater Management Commission
    Health Department
    Division of Transportation
    Public Works
  2009 – 2017
    >1,000 participants
    231 different entities
  October 1, 2, & 3, 2018

## Slide 16: De-icing workshops